# Datalogger with voice & tiny motor control

Data logger units are used in most industries to study the characteristics of a process under testing. In this Project we will develop a data logger, which has the capable of measuring 3 different temperatures & Voltage signals from any 4 different equipment / signal conditioner. The data are stored in an EEPROM. So that the data are safe, even if power fails. After acquiring the data, the data logger can be connected to PC for up loading. After transfer, the data can be analyzed in PC. It works on 2-mode process & capture mode. During process mode, when the temperature exceeds the set point the voice synthesizer is provided to indicate the pre-recorded message. Here the DC motor is act as a cooling fan. When the temperature increases, the cooling fan will be ON automatically. The figure shows the block diagram of the project

Speaker

Voice

Synthesizer

LCD

EEPROM

Signal

Conditioner

To

Micro

Controller

AT89C51

RS232

Driver

Thermo	 Serial

ADC

Couple	  Port

Input

Motor

DAC

Keypad

The hardware is based on AT89C51 micro controller, which is compatible with 51 family micro controllers. The unit has 3 thermocouple to sense the 3 different temperatures. The Thermocouple sensor is connected to signal conditioning unit. The sensor produces very low voltage signals (in terms of milli volts), which cannot be measured by ADC. So the weak signal is amplified to 0-5V level by signal conditioner. The signal conditioner also has one temperature sensor (AD590) to measure the room temperature. The measured room temperature is added with Thermocouple signal for cold-junction compensation. We are using ‘K’ type thermocouple, which has very low non-linearity error.

The output of signal conditioner is given to the Analog to Digital Converter (ADC). The ADC has capable of measuring 8 Channels. The 4 channels of ADC are connected to amplified output of 3 thermocouples & one AD590 from signal conditioner. The remaining 4 channels are left open, so that any other signals to be recorded can be given to that. The LCD display is used to indicate channel no. & the temperature. The keypad is used to receive the setting from the user. The user has to enter the sampling rate & no. Of channels to be read.

The acquired data are stored in EEPROM (2KB). The EEPROM can hold the data even if power is failed. After the data acquiring, the unit can be linked to PC for up loading. The micro controller has build-in serial port, but needs driver to connect with RS232C standard serial port.